## BasicPublications
Basic EMC Publications. © 2019 by Academy of EMC
Last update, 15.Nov.2019
Basic EMC Publications and Standards © 2019 by Academy of EMC
General guideance | Emission | Immunity | Type | Remark
General guide to EMC publications | IEC Guide 107 |  | Basic Publication
General terminology | Emission | Immunity | Type | Remark
General terminology, international electrotechnical vocabulary | IEC 60050-161 |  | Basic Publication
General considerations | Emission | Immunity | Type | Remark
Application and interpretation of fundamental definitions and terms | IEC 61000-1-1 |  | Basic Publication
Methodology for the achievement of functional safety of electrical and electronic systems including equipment with regard to electromagnetic phenomena | IEC 61000-1-2 |  | Basic Publication
The effects of high-altitude EMP (HEMP) on civil equipment and systems | IEC TR 61000-1-3 |  | Basic Publication | Technical Report (non-normative)
Historical rationale for the limitation of power-frequency conducted harmonic current emissions from equipment, in the frequency range up to 2 kHz | IEC TR 61000-1-4 |  | Basic Publication | Technical Report (non-normative)
High power electromagnetic (HPEM) effects on civil systems |  | IEC TR 61000-1-5 | Basic Publication | Technical Report (non-normative)
Environment classification (basic publications) | Emission | Immunity | Type | Remark
Classification of electromagnetic environments. Basic EMC publication. |  | IEC 61000-2-5 | Basic Publication | Technical Report (non-normative)
Environment LF conducted emission (basic publications) | Emission | Immunity | Type | Remark
Description of the environment - Electromagnetic environment for low-frequency conducted disturbances and signalling in public power supply systems | IEC TR 61000-2-1 |  | Basic Publication | Technical Report (non-normative)
Compatibility levels for low-frequency conducted disturbances and signalling in public low-voltage power supply systems | IEC 61000-2-2 |  | Basic Publication
Compatibility levels in industrial plants for low-frequency conducted disturbances | IEC 61000-2-4 |  | Basic Publication
Assessment of the emission levels in the power supply of industrial plants as regards low-frequency conducted disturbances | IEC TR 61000-2-6 |  | Basic Publication | Technical Report (non-normative)
Voltage dips and short interruptions on public electric power supply systems with statistical measurement results | IEC TR 61000-2-8 |  | Basic Publication | Technical Report (non-normative)
Compatibility levels for low-frequency conducted disturbances and signalling in public medium-voltage power supply systems | IEC 61000-2-12 |  | Basic Publication
Overvoltages on public electricity distribution networks | IEC TR 61000-2-14 |  | Basic Publication | Technical Report (non-normative)
Consideration of reference impedances and public supply network impedances for use in determining disturbance characteristics of electrical equipment having a rated current = < 75 A per phase | IEC TR 60725 |  | Basic Publication | Technical Report (non-normative)
Environment LF radiated emission (basic publications) | Emission | Immunity | Type | Remark
Low frequency magnetic fields in various environments | IEC TR 61000-2-7 |  | Basic Publication | Technical Report (non-normative)
HF conducted/radiated disturbances (basic publications) | Emission | Immunity | Type | Remark
Description of the environment - Radiated and non-network-frequency-related conducted phenomena | IEC TR 61000-2-3 |  | Basic Publication | Technical Report (non-normative)
HEMP (basic publications) | Emission | Immunity | Type | Remark
Description of HEMP environment - Radiated disturbance. Basic EMC publication |  | IEC 61000-2-9 | Basic Publication
Description of HEMP environment - Conducted disturbance |  | IEC 61000-2-10 | Basic Publication
Classification of HEMP environments |  | IEC 61000-2-11 | Basic Publication
High-power electromagnetic (HPEM) environments - Radiated and conducted |  | IEC 61000-2-13 | Basic Publication
Installation and mitigation guidelines (basic publications) | Emission | Immunity | Type | Remark
Installation and mitigation guidelines - General considerations | IEC TR 61000-5-1 |  | Basic Publication | Technical Report (non-normative)
Installation and mitigation guidelines - Earthing and cabling | IEC TR 61000-5-2 |  | Basic Publication | Technical Specification (non-normative)
Installation and mitigation guidelines - Mitigation of external EM influences | IEC TR 61000-5-6 |  | Basic Publication | Technical Specification (non-normative)
Installation and mitigation guidelines - Degrees of protection provided by enclosures against electromagnetic disturbances (EM code) | IEC 61000-5-7 |  | Basic Publication
Installation and mitigation guidelines - HEMP protection concepts |  | IEC TR 61000-5-3 | Basic Publication
Installation and mitigation guidelines - Section 4: Immunity to HEMP - Specifications for protective devices against HEMP radiated disturbance. Basic EMC Publication |  | IEC TS 61000-5-4 | Basic Publication | Technical Specification (non-normative)
Installation and mitigation guidelines - Section 5: Specification of protective devices for HEMP conducted disturbance. Basic EMC Publication |  | IEC 61000-5-5 | Basic Publication
LF conducted emission | Emission | Immunity | Type | Remark
Testing and measurement techniques - General guide on harmonics and interharmonics measurements and instrumentation, for power supply systems and equipment connected thereto | IEC 61000-4-7 |  | Basic Publication
Testing and measurement techniques - Flickermeter - Functional and design specifications | IEC 61000-4-15 |  | Basic Publication
HF conducted and radiated emission | Emission | Immunity | Type | Remark
CISPR 16-1: Specification for radio disturbance and immunity measuring apparatus and methods - Radio disturbance and immunity measuring apparatus
Measuring apparatus | CISPR 16-1-1 |  | Basic Publication
Coupling devices for conducted disturbance measurements | CISPR 16-1-2 |  | Basic Publication
Ancillary equipment - Disturbance power | CISPR 16-1-3 |  | Basic Publication
Antennas and test sites for radiated disturbance measurements | CISPR 16-1-4 |  | Basic Publication
Antenna calibration sites and reference test sites for 5 MHz to 18 GHz | CISPR 16-1-5 |  | Basic Publication
EMC antenna calibration | CISPR 16-1-6 |  | Basic Publication
CISPR 16-2: Specification for radio disturbance and immunity measuring apparatus and methods - Methods of measurement of disturbances and immunity
Conducted disturbance measurements | CISPR 16-2-1 |  | Basic Publication
Measurement of disturbance power | CISPR 16-2-2 |  | Basic Publication
Radiated disturbance measurements | CISPR 16-2-3 |  | Basic Publication
Immunity measurements | CISPR 16-2-4 |  | Basic Publication
In situ measurements for disturbing emissions produced by physically large equipment | CISPR TR 16-2-5 |  | Basic Publication | Technical Report (non-normative)
CISPR technical reports | CISPR TR 16-3 |  | Basic Publication | Technical Report (non-normative)
CISPR 16-4: Specification for radio disturbance and immunity measuring apparatus and methods - Uncertainties, statistics and limit modelling
Uncertainties in standardized EMC tests | CISPR TR 16-4-1 |  | Basic Publication | Technical Report (non-normative)
Measurement instrument uncertainty | CISPR 16-4-2 |  | Basic Publication
Statistical considerations in the determination of EMC compliance of mass-produced products | CISPR TR 16-4-3 |  | Basic Publication | Technical Report (non-normative)
Statistics of complaints and a model for the calculation of limits for the protection of radio services | CISPR TR 16-4-4 |  | Basic Publication | Technical Report (non-normative)
Conditions for the use of alternative test methods | CISPR TR 16-4-5 |  | Basic Publication | Technical Report (non-normative)
General immunity testing techniques | Emission | Immunity | Type | Remark
Testing and measurement techniques - Overview of immunity tests (IEC 61000-4 series) |  | IEC TR 61000-4-1 | Basic Publication | Technical Report (non-normative)
LF conducted immunity (testing and measurement technique) | Emission | Immunity | Type | Remark
Voltage dips, short interruptions and voltage variations immunity tests |  | IEC 61000-4-11 | Basic Publication
Harmonics and interharmonics including mains signalling at a.c. power port, low frequency immunity tests |  | IEC 61000-4-13 | Basic Publication
Voltage fluctuation immunity test for equipment with input current not exceeding 16 A per phas |  | IEC 61000-4-14 | Basic Publication
Test for immunity to conducted, common mode disturbances in the frequency range 0 Hz to 150 kHz |  | IEC 61000-4-16 | Basic Publication
Ripple on d.c. input power port immunity test |  | IEC 61000-4-17 | Basic Publication
Unbalance, immunity test for equipment with input current not exceeding 16 A per phase |  | IEC 61000-4-27 | Basic Publication
Variation of power frequency, immunity test for equipment with input current not exceeding 16 A per phase |  | IEC 61000-4-28 | Basic Publication
Voltage dips, short interruptions and voltage variations on d.c. input power port immunity test |  | IEC 61000-4-29 | Basic Publication
Power quality measurement methods |  | IEC 61000-4-30 | Basic Publication
Voltage dips, short interruptions and voltage variations immunity tests for equipment with mains current more than 16 A per phase |  | IEC 61000-4-34 | Basic Publication
Test, verification and calibration protocol for fluctuation and flicker compliance test systems |  | IEC TR 61000-4-38 | Basic Publication | Technical Report (non-normative)
LF radiated immunity (testing and measurement techniques) | Emission | Immunity | Type | Remark
Power frequency magnetic field immunity test |  | IEC 61000-4-8 | Basic Publication
HF conducted immunity (testing and measurement technique) | Emission | Immunity | Type | Remark
Electrical fast transient / burst immunity test |  | IEC 61000-4-4 | Basic Publication
Surge immunity test |  | IEC 61000-4-5 | Basic Publication
Immunity to conducted disturbances, induced by radio-frequency fields |  | IEC 61000-4-6 | Basic Publication
Ring wave immunity test |  | IEC 61000-4-12 | Basic Publication
Damped oscillatory wave immunity test |  | IEC 61000-4-18 | Basic Publication
Test for immunity to conducted, differential mode disturbances and signalling in the frequency range 2kHz to 150 kHz at AC power ports |  | IEC 61000-4-19 | Basic Publication
HF radiated immunity (testing and measurement techniques) | Emission | Immunity | Type | Remark
Radiated, radio-frequency, electromagnetic field immunity test |  | IEC 61000-4-3 | Basic Publication
Pulse magnetic field immunity test |  | IEC 61000-4-9 | Basic Publication
Damped oscillatory magnetic field immunity test |  | IEC 61000-4-10 | Basic Publication
Emission and immunity testing in transverse electromagnetic (TEM) waveguides | IEC 61000-4-20 |  | Basic Publication
Reverberation chamber test methods | IEC 61000-4-21 |  | Basic Publication
Radiated emissions and immunity measurements in fully anechoic rooms (FARs) | IEC 61000-4-22 |  | Basic Publication
Radiated fields in close proximity - Immunity test | IEC 61000-4-22 | IEC 61000-4-39 | Basic Publication
Electrostatic discharges (ESD) | Emission | Immunity | Type | Remark
Electrostatic discharge (ESD) immunity test |  | IEC 61000-4-2 | Basic Publication
HEMP | Emission | Immunity | Type | Remark
Test methods for protective devices for HEMP and other radiated disturbances |  | IEC 61000-4-23 | Basic Publication
Test methods for protective devices for HEMP conducted disturbance |  | IEC 61000-4-24 | Basic Publication
HEMP immunity test methods for equipment and systems |  | IEC 61000-4-25 | Basic Publication
High-altitude electromagnetic pulse (HEMP) simulator compendium |  | IEC TR 61000-4-32 | Basic Publication | Technical Report (non-normative)
Measurement methods for high-power transient parameters |  | IEC 61000-4-33 | Basic Publication
High Power Electromagnetic HEMP transient simulator compendium |  | IEC TR 61000-4-35 | Basic Publication | Technical Report (non-normative)
IEMI immunity test methods for equipment and systems |  | IEC 61000-4-36 | Basic Publication

## GenericStandards
Generic EMC Standards. © 2018 by Academy of EMC
Last update, 18.Aug.2018
Generic EMC Standards © 2018 by Academy of EMC
| Emission | Immunity | Type | Remark
Residential, commercial, light industrial environment | IEC 61000-6-3 | IEC 61000-6-1 | Generic Standard
Industrial environment | IEC 61000-6-4 | IEC 61000-6-2 | Generic Standard
Immunity for power station and substation environments |  | IEC 61000-6-5 | Generic Standard
Indoor equipment HEMP immunity |  | IEC 61000-6-6 | Generic Standard

## ProductStandards
EMC Product (Family) Standards. © 2019 by Academy of EMC
Last update, 12.April.2019
EMC Product (Family) Standards © 2019 by Academy of EMC
| Emission | Immunity | Type | Remark
Industrial, scientific and medical equipment (ISM) | CISPR 11 | - | Product Standard
Vehicles, boats and internal combustion engines (automotive) | CISPR 12 | - | Product Standard
Household appliances, electric tools and similar apparatus | CISPR 14-1 | CISPR 14-2 | Product Standard
Electrical lighting and similar equipment | CISPR 15 | IEC 61547 | Product Standard
Sound and television broadcast receivers and associated equipment (TV, broadcast receivers) | CISPR 32 | CISPR 20 | Product Standard | CISPR 32 replaced CISPR 13 in 2017 CISPR 35 will replace CISPR 20 in August 2020.
Information technology equipment (ITE, notebooks, telephones) | CISPR 32 | CISPR 24 | Product Standard | CISPR 32 replaced CISPR 22 in 2017 CISPR 35 will replace CISPR 24 in August 2020.
Measuring relays and protection equipment | IEC 60255-26 | IEC 60255-26 | Product Standard
Ships with a metallic hull | IEC 60533 | IEC 60533 | Product Standard
Medical equipment | IEC 60601-1-2 |  | Product Standard | In EU: Medical Equipment falls under the Medical Directive (93/68/EEC) and not the EMC Directive (2014/30/EU)
Residual current operated circuit-breakers with integral overcurrentprotection for household and similar uses | IEC 61009-1 |  | Product Standard
Electrical equipment for measurement, control and laboratory use - EMC requirements - General requirements | IEC 61326-1 | IEC 61326-1 | Product Standard
Electrical equipment for measurement, control and laboratory use - Immunity requirements for safety-related systems and equipment intended to perform safety-related functions (functional safety) | - | IEC 61326-3-1 | Product Standard | IEC 61326-3-1 is limited to systems/equipment for industrial applications intended to perform safety functions (IEC 61508 with SIL 1-3)
Electrical equipment for measurement, control and laboratory use - EMC requirements - In vitro diagnostic (IVD) medical equipment | IEC 61326-2-6 |  | Product Standard
Communication networks and systems for power utility automation | IEC 61850-3 |  | Product Standard
Electricity metering equipment (AC) | - | IEC 62052-11 | Product Standard